## Slide 1
NATIONAL INSTITUTE OF TECHNOLOGY KURUKSHETRA
DEPARTMENT OF COMPUTER ENGINEERING • AY: 2026-27 (ODD SEMESTER)
MedBoard: Brain MRI Segmentation and Classification System
Mid-Semester Project Evaluation • Course: CSPC401 & ITPC401
PROJECT TEAM MEMBERS
• Pragya Thakur (123102162) B.Tech Computer Engineering
• Shivanshu Sajwan (123102193) B.Tech Computer Engineering
• Digvijay Singh (123102198) B.Tech Computer Engineering
FACULTY COORDINATOR & EVALUATION COMMITTEE
Project Coordinator / Mentor: Dr. Vishwas Rathi
Evaluation Committee Members: Dr. Niyati Baliyan Dr. Vijay Kumar Sharma
Project Type & Scope: B.Tech Major Capstone Project (CSPC401 / ITPC401)

## Slide 2
MID-SEMESTER EVALUATION • SECTION 1
Problem Identification and Objectives
NIT Kurukshetra • Department of Computer Engineering • B.Tech Project (CSPC401 & ITPC401)
2 / 7
PROBLEM IDENTIFICATION
Clinical Triage Burden: Manual evaluation of brain MRI slices is time-consuming and subject to inter-observer variability, compounded by a global shortage of specialized neuroradiologists.
Dual Diagnostic Challenge: Clinicians require both accurate tumor type identification (Glioma, Meningioma, Pituitary, Normal) and precise anatomical boundary delineation (segmentation) for biopsy and surgical planning.
Infiltrative & Ambiguous Margins: Intracranial neoplasms exhibit irregular, low-contrast boundaries against normal parenchyma, causing standard thresholding and shallow architectures to under-segment or leak into ventricles.
Fragmented Tooling: Existing computer-aided diagnostic systems typically handle classification or segmentation in isolation, lacking a unified pipeline and interactive clinical interface.
PROJECT OBJECTIVES
1. Automated 4-Class Classification: Train a lightweight, high-accuracy deep learning classifier (EfficientNet-B0) to categorize axial brain MRI slices into Glioma, Meningioma, Pituitary Tumor, or Normal (>98% accuracy target).
2. Deep Segmentation Benchmarking: Implement, train, and benchmark 6 semantic segmentation architectures (Standard U-Net, Attention U-Net, Scratch U-Net++, Pretrained ResNet-34 U-Net++, SaberNet, GeoSample) on BRISC 2025.
3. Morphological Feature Extraction: Compute automated quantitative lesion metrics including tumor surface area (mm² and pixel count), perimeter, circularity, and spatial centroid.
4. Interactive Clinician Dashboard: Deploy an intuitive Streamlit interface allowing real-time MRI upload, instant mask overlay, class probability distribution visualization, and diagnostic review.

## Slide 3
MID-SEMESTER EVALUATION • SECTION 2
Literature Review
NIT Kurukshetra • Department of Computer Engineering • B.Tech Project (CSPC401 & ITPC401)
3 / 7
U-Net: Convolutional Networks for Biomedical Image Segmentation
Ronneberger, Fischer, & Brox (MICCAI 2015)
• Symmetric contracting (encoder) and expanding (decoder) paths connected via long skip connections. • Preserves spatial context across downsampling, serving as the foundational benchmark for medical image segmentation. • Limitation: Large semantic gap between early encoder features and deep decoder features.
UNet++: A Nested U-Net Architecture for Medical Image Segmentation
Zhou, Siddiquee, Tajbakhsh, & Liang (IEEE TMI 2018)
• Redesigns skip pathways using dense, nested convolutional blocks connecting encoder and decoder feature maps. • Accumulates multi-scale receptive fields at decoder nodes and incorporates deep supervision loss heads. • Significance: Demonstrated substantial gains on boundary-sensitive medical segmentation tasks.
Attention U-Net: Learning Where to Look for the Pancreas
Oktay et al. (MIDL / arXiv 2018)
• Proposes additive attention gates in skip connections conditioned on decoder gating signals. • Automatically suppresses task-irrelevant background regions while highlighting salient lesion features with minimal parameter overhead. • Significance: Improves sensitivity to small target structures without extra computational complexity.
EfficientNet: Rethinking Model Scaling for Convolutional Neural Networks
Tan & Le (ICML 2019)
• Establishes compound scaling, systematically balancing network depth, width, and input image resolution. • EfficientNet-B0 provides competitive ImageNet top-1 accuracy with only 4.01M parameters. • Significance: Ideal candidate for real-time clinical triage, preventing overfitting on moderate medical datasets.
SaberNet: Self-Attention Based Effective Relation Network
Pattern Recognition (2023)
• Formulates spatial relation matrices (Q·K^T / √d) to capture global pairwise pixel dependencies across the MRI slice. • Significance: Evaluated in our benchmark to assess whether whole-slice self-attention outperforms local convolutions on brain neoplasms.
GeoSample: Geometry-Guided Sampling Operators for Medical Segmentation
Medical Imaging Benchmark (2025)
• Replaces fixed 3×3 convolution grids with learnable directional boundary probes (orientation and step sizes). • Significance: Explored in our project to evaluate explicit boundary gradient and curvature token extraction on tumor margins.

## Slide 4
MID-SEMESTER EVALUATION • SECTION 3
Methodology and Work Plan
NIT Kurukshetra • Department of Computer Engineering • B.Tech Project (CSPC401 & ITPC401)
4 / 7
TECHNICAL METHODOLOGY
Benchmark Dataset (BRISC 2025): 6,000 axial brain MRI slices (5,000 train / 1,000 test) across 4 balanced classes: Glioma, Meningioma, Pituitary, Normal. Paired ground-truth binary masks for all tumor slices.
Preprocessing Pipeline: Intensity scaling, format normalization, CLAHE contrast enhancement, and multi-resolution sizing (224×224 for classification, 256×256 & 512×512 for segmentation).
Classification Engine: EfficientNet-B0 with ImageNet pretrained transfer learning, custom classification head, Cross-Entropy Loss, AdamW optimizer, and Cosine Annealing learning rate schedule.
Segmentation Pipeline: Trained 6 architectures with hybrid Dice + Binary Cross-Entropy Loss (DiceBCELoss) to balance pixel-level classification and region overlap. Deep supervision on U-Net++.
Compute Infrastructure: Local NVIDIA RTX 2050 (4 GB) + Cloud NVIDIA Tesla T4 (16 GB) utilizing FP16 Automatic Mixed Precision (AMP) for 2.2× faster training.
PHASED PROJECT WORK PLAN
• Phase 0: Environment & Data Setup: Dataset acquisition, validation, PyTorch CUDA 12.4 environment configuration. [Completed]
• Phase 1: Preprocessing Module: Format validation, CLAHE normalization, dual-tensor transforms. [Completed]
• Phase 2: Classification Module: EfficientNet-B0 training, validation, and test evaluation (99.00% accuracy). [Completed]
• Phase 3: Segmentation Benchmarking: Trained 6 architectures; selected Pretrained ResNet-34 U-Net++ (87.78% Dice). [Completed]
• Phase 4: Morphometric Feature Extraction: Calculating tumor surface area (mm²), perimeter, centroid coordinates. [Active (70%)]
• Phase 5: Medical Knowledge Base (RAG): Vector store compilation (ChromaDB + all-MiniLM) for clinical guideline retrieval. [Scheduled (Nov)]
• Phase 6: Preliminary Report Generation: Gemini LLM prompt engineering for structured draft report generation. [Scheduled (Nov)]
• Phase 7: System Integration & Testing: Pipeline unification, latency profiling, Streamlit deployment, final documentation. [Scheduled (Dec)]

## Slide 5
MID-SEMESTER EVALUATION • SECTION 4
Progress Achieved
NIT Kurukshetra • Department of Computer Engineering • B.Tech Project (CSPC401 & ITPC401)
5 / 7
A. TUMOR CLASSIFICATION (EfficientNet-B0 — Evaluated on 1,000 Unseen Test Scans)
Overall Performance Metrics: Achieved 99.00% Test Accuracy, 0.9899 Macro-F1 Score, and 0.0529 Test Loss under the full training protocol. On standard 85/15 validation split: 98.28% Test Accuracy (0.9830 Macro-F1).
Class-Wise Precision / Recall Breakdown: Glioma: 98.8% Precision / 98.4% Recall • Meningioma: 98.4% Precision / 98.0% Recall • Pituitary Tumor: 99.2% Precision / 99.6% Recall • No Tumor (Healthy): 100.0% Precision / 100.0% Recall (Zero False Positives).
Computational Efficiency: Model size is only 4.01 Million parameters; per-slice inference latency is under 15 milliseconds on an edge GPU (NVIDIA RTX 2050), ensuring real-time responsiveness.
B. 6-MODEL SEGMENTATION BENCHMARK (860 Unseen Test Scans)
Architecture | Params | Dice Score | Mean IoU | Outcome
Pretrained ResNet-34 U-Net++ | 23.67 M | 87.78% | 81.11% | Selected (SOTA)
Scratch U-Net++ | 9.16 M | 87.14% | 80.18% | Rank 2
Attention U-Net | 7.98 M | 86.96% | 79.93% | Rank 3
Standard Baseline U-Net | 7.85 M | 86.84% | ~79.60% | Baseline
SaberNet (Spatial Relations) | 8.38 M | 86.66% | 79.70% | Rank 5
GeoSample U-Net (Probes) | 17.72 M | 86.46% | ~79.20% | Rank 6
C. INTERACTIVE STREAMLIT DASHBOARD
Functional Deployment (`ui/app.py`): Interactive web dashboard allowing direct upload of MRI slices with instant display of prediction KPIs, class probabilities, and boundary overlays.
Real-Time Contour Rendering: Alpha-blended mask visualization over anatomical scan; calculates total lesion pixels and area in mm².
Singleton Model Caching: Models remain preloaded in GPU memory via `MedBoardState`, eliminating cold-start reload latency.

## Slide 6
MID-SEMESTER EVALUATION • SECTION 5
Future Work and Timeline
NIT Kurukshetra • Department of Computer Engineering • B.Tech Project (CSPC401 & ITPC401)
6 / 7
FUTURE WORK
1. Finalize Morphological Feature Extractor: Complete automated geometric calculation of tumor surface area, perimeter, circularity, aspect ratio, and centroid coordinates relative to anatomical midline to assist clinical staging.
2. RAG Medical Knowledge Base Construction: Build a local vector store (ChromaDB + sentence-transformers/all-MiniLM-L6-v2) populated with verified neuro-oncology guidelines (WHO CNS5 classification criteria) to retrieve clinical context for identified tumor types.
3. LLM-Based Preliminary Report Generation: Integrate Gemini API with structured diagnostic prompt templates to synthesize classification, segmentation metrics, and retrieved clinical guidelines into a standardized draft radiology report.
4. Multi-Agent Pipeline Integration & Validation: Unify Preprocessing, Classification, Segmentation, Feature Extraction, RAG, and Reporting agents into an autonomous workflow with clinical safety guardrails and edge-case testing.
TIMELINE & MILESTONE ROADMAP
• Weeks 8–9 (Late October — Current): Mid-Semester Evaluation presentation and progress reporting. Finalize automated lesion feature extraction module (`feature_extractor.py`).
• Weeks 10–11 (Early–Mid November): Construct ChromaDB vector store; ingest WHO CNS5 clinical guidelines; implement dense retrieval agent for neuro-oncology context.
• Weeks 12–13 (Late November): Implement Chief Synthesis Agent using Gemini LLM; design clinical prompt templates; validate factual consistency against hallucinations.
• Weeks 14–15 (December): End-to-end multi-agent integration and testing; latency profiling; UI polishing; preparation of final project dissertation and defense.

## Slide 7
Thank You!
Questions & Discussion
MedBoard: Brain MRI Segmentation and Classification System
Project Team: Pragya Thakur (123102162) • Shivanshu Sajwan (123102193) • Digvijay Singh (123102198)
Project Coordinator / Mentor: Dr. Vishwas Rathi Evaluation Committee: Dr. Niyati Baliyan & Dr. Vijay Kumar Sharma
Department of Computer Engineering • National Institute of Technology Kurukshetra